Reduction of Chemical Oxygen Demand of Pharmaceutical Waste Water by Nanofiltration and Reverse Osmosis

Edit CSÉFALVAY

Department of Chemical and Environmental Process Engineering, Budapest University of Technology and Economics

H-1521 Budapest, Hungary

E-mail address: csefalvay@ch.bme.hu

Supervisor:	Dr. Péter Mizsey

In the last few decades the use of membrane technology has grown significantly in waste water treatment. Nanofiltration has proven to be a very effective method for the removal of wide variety of organic compounds from waste water. Also reverse osmosis can be regarded as the state of the art in waste water treatment. The required water quality can be achieved by combining membrane separation processes e.g. nanofiltration followed by reverse osmosis [1]. Previous studies have shown that membrane separation processes have been applied with success for the reduction of chemical oxygen demand (COD) of several waste waters. RO processes for waste water treatment have been applied to the chemical, textile, petrochemical, electrochemical, pulp and paper and food industries as well as for the treatment of municipal waste water. Several studies have been made comparing the effectiveness of nanofiltration and reverse osmosis membranes for various waste waters. It was found that the required water quality can always be achieved by membrane processes- if necessary in cascaded operation [2, 3, 4].

The present work is an experimental study aimed at comparing the efficiency of several nanofiltration and reverse osmosis membranes in treating pharmaceutical waste water and reducing the COD.

High organic and inorganic salt and organic compound containing waste water from pharmaceutical industry was treated by four different flat sheet membranes (two nanofiltration and two reverse osmosis membranes). Cross-flow filtration was performed using a laboratory scale apparatus. For each membrane two experiments were carried out. Two nanofiltration membranes were tested at two different pressures: near to the lowest and near to highest applicable pressure. One reverse osmosis membrane was also tested at two different pressures: near to the optimal and near to highest applicable operating pressure. The other reverse osmosis membrane was tested at the optimal operating pressure with two different feed. First the original waste water was filtrated then the permeate of one nanofiltration membrane is fed and treated therfore a two-stage filtration was carried out. Permeate fluxes were measured to see the membrane characteristics. Conductivity and COD of the permeate were measured continuously to observe the membrane rejection. Figure 1 shows the permeate COD values versus operation time. It can be seen that all the membranes could decrease the COD with a certain value. Out of the four tested membranes Desal AD showed the best performance, it reduced the initial COD of 165 000 mg/L to 20 000 mg/L. In case of the two-stage filtration (when the permeates of the Desal DL nanofiltration membrane were fed onto the Desal AD membrane) the COD was reduced to 10 000 mg/L which means a COD rejection of 94% but at the same time it is nearly ten times higher than the emission level limit. It can be concluded that none of membranes were able reduce the COD to the desirable level (1000 mg/l).

Since the COD could not be reduced to the desirable level, more than two cascaded operations (e.g. NF-RO-RO) are needed to be applied.

Figure 1 Permeate COD versus operation time

References

[1] W. Ho, K. Sirkar, Membrane Handbook, Chapman&Holl, New York, USA, 1992

[2] B. Balannec, M. Vourch, M. Rabiller-Baudry, B. Chaufer, Comparative study of different nanofiltration and reverse osmosis membranes for dairy effluent treatment by dead-end filtration, Separation and Purification Technology 42 (2005) 195-200

[3] L. Braeken, R. Ramackers, Y. Zhang, G. Maes, B. Van der Bruggen, C. Vandecasteele, Influence of hydrophobicity on retention in nanofiltration of aqueous solutions containing organic compounds, Journal of Membrane Science 252 (2005) 195-203

[4] N. M. Al-Bastaki, Performance of advanced methods for treatment of wastewater: UV/TiO2, RO and UF, Chemical Engineering and Processing 43 (2004) 935-940